## Products
Part Number | Part Name | Part Indicator | Description | Portfolio | Product Brand | Product Series | Product Type | Government Funding | Status
7640449-01 | SR 8/POI | Variant | ION® Active Intelligent Point of Interface Subrack with Guide Rails |  | ION® |  | Point of interface subrack
7637444-01 |  | Variant | ION® Series Power Supply Unit, 100–240 Vac, 850 W |  | ION® |  | Power supply
A7843668 |  | Variant | Fiber Optic Power Reducing Build Out Attenuator, singlemode LC/UPC, 7dB, |  |  | FOA | Fiber attenuator
A7851753 | Wall Mounting Bracket set (2 EA) CAP M2 | Variant | CAP M2 single wall mounting bracket set (2 units) to mount 1 CAP M2 to a wall with each of the brackets |  | ERA® |  | Mounting kit
7661581 | Wall Mounting kit CAP H | Variant | Wall Mounting Kit to mount a CAP H (M2-Cabinet) to a wall |  | ERA® |  | Mounting kit
7847985-00 | Mounting Bracket Single CAP MX | Variant | CAP MX Mounting Bracket Single to mount one CAP MX to a wall |  | ERA® |  | Mounting kit
42396A-17 |  | Variant | ION Bracket for Passive Device |  |  |  | Bracket kit
7640450-00 |  | Variant | ION® Alarm Cable for Active Intelligent Point of Interface, 0.7 m inter-subrack connection |  | ION® |  | Alarm cable
7640681-01 |  | Variant | ION® Power Distribution Unit |  | ION® |  | Power distribution unit
7673474-01 | Blank Panel e-POI | Variant | e-POI Blank Module |  | ERA® |  | Blank module
7681202 |  | Variant | ION® Series Power Supply Unit and Cable Kit, -40 to -70 Vdc, 850 W |  | ION® |  | Power supply
7672754-00 |  | Variant | ION® Interface Card Blindcover |  | ION® |  | Cover
7688867-00 | Blank Panel AUT | Variant | ERA® Blank Module, Auxiliary Transport Slot |  | ERA® |  | Blank module
7693969 |  | Variant | ION® Power Supply Distribution Unit, Vdc Adapter Kit |  | ION® |  | Power supply
7683182-01 | Ceiling Mounting kit UAP | Variant | Universal Access Point (UAP) Ceiling Mount Assembly |  | ERA® |  | Mounting kit |  | Discontinued
7708015 |  | Variant | ION® Mains Block Kit, Vac |  | ION® |  | Block kit
7705125 |  | Variant | Omni Indoor Antenna Clamp 1 |  |  |  | Clamp set
7708035 |  | Variant | ION® Mains Block Kit, Vdc for PSDU |  | ION® |  | Block kit
7821954-01 | Wall Mounting Bracket set CAP M Dual (2 EA) | Variant | CAP M Dual Wall Mounting Bracket set (2 units), to mount two CAP M back-to-back to a wall with each bracket |  | ERA® |  | Mounting kit
7814722 |  | Variant | Pole Mounting kit for Stadium Antennas |  |  |  | Accessory
7831788-00 |  | Variant | Diplexer for ERA® 694-1880 & 1920-2700 MHz Outdoor Applications |  | ERA® |  | Diplexer
TFAH-ES70/80-37 |  | Variant | ION®-B Series High Power Remote Unit for LMR 700 and LMR 800 Band High Power Applications |  | ION®-B |  | Remote unit
TFAH-ES70/80/50-37 |  | Variant | ION®-B Series High Power Remote Unit for LMR 700, LMR 800 and UHF Band High Power Applications |  | ION®-B |  | Remote unit
TFLN4004/4 |  | Variant | ION®-B Series Master Optical Transceiver, 380–960 MHz |  | ION®-B |  | Master optical transceiver
TPRN64 |  | Variant | ION®-B Series Subrack, dc |  | ION®-B |  | Subrack
7843675-00 |  | Variant | Double Notch Filter for 900 MHz UL Protection |  |  |  | Filter
7847185 |  | Variant | Omni Absorber ground plane to improve VSWR on metal ceilings |  |  |  | Cover
7773877-0002 |  | Variant | ION-M4 U DC AI 380-385 390-395 High Power Remote Unit for TETRA Applications |  | ION®-M |  | Remote unit
7725850-01 | Ceiling Mounting kit UAP | Variant | Universal Access Point (UAP) Ceiling Mount Assembly |  | ERA® |  | Mounting kit
7850475 |  | Variant | Omni Absorber ground plane to improve VSWR on metal ceilings (this product was designed to match the CMAX-OMF7-43-UWI53 and CMAX-OUS antennas) |  |  |  | Cover
7833623-00 |  | Variant | Double Notch Filter for DL 700/800 bands Public Safety |  |  |  | Filter
7845793-00 | Filter TDD 3500 | Variant | Passband filter for TDD 3500 |  | ERA® |  | Filter
A7843666 |  | Variant | Fiber Optic Power Reducing Build Out Attenuator, singlemode LC/UPC, 3dB |  |  | FOA | Fiber attenuator
7654948-00 | Universal 19"-Rack Cable Tray | Variant | Universal 19"-Rack Cable Tray |  | ERA® |  | Cable holder kit
7848362 | Ceiling Mounting kit RP5200/UAP2 C-PE | Variant | RP5200/UAP2 C-PE ceiling mounting kit |  | ERA® |  | Mounting kit
7851781-00 | Wall Mounting Bracket CAP M2 | Variant | Wall mounting bracket to mount a CAP M2 to a wall |  | ERA® |  | Mounting kit
A7848842 | Wall Mounting Bracket set (2 EA) single CAP L2 | Variant | 2 CAP L2 wall mounting brackets single to mount one CAP L2 to a wall with each of the brackets |  | ERA® |  | Mounting kit
7846281-01 | Wall Mounting bracket CAP L2 | Variant | Wall Mounting bracket to mount a CAP L2 to a wall |  | ERA® |  | Mounting kit
7821955-00 | Wall Mounting Bracket set CAP M Single (2 EA) | Variant | Wall Mounting bracket CAP M SISO set (2 units), to mount one CAP M to a wall with each bracket |  | ERA® |  | Mounting kit
7661538 | Pole Mounting kit CAP H | Variant | Pole Mounting Kit to mount a CAP H (M2-Cabinet) to a pole. The diameter of the pole must not exceed 120 mm. |  | ERA® |  | Mounting kit
7851137 |  | Variant | Kit MID for adjustable mounting kit |  |  |  | Accessory
OC-10A0-003 | Ceiling-Wall Mounting kit UAP2 C-PE | Variant | UAP2 C-PE Ceiling-Wall mounting kit to mount a UAP2 C-PE to a wall or a ceiling |  | ERA® |  | Mounting kit |  | Discontinued
7834569-00 |  | Variant | CAP M passband filter for 700/800 DL PS |  |  |  | Filter
7773877-0001 |  | Variant | ION-M4 U AC AI 380-385 390-395 High Power Remote Unit for TETRA Applications |  | ION®-M |  | Remote unit
7683182-02 | Ceiling Mounting kit UAP | Variant | Universal Access Point (UAP) Ceiling Mount Assembly |  | ERA® |  | Mounting kit
7847984-00 | Mounting Bracket Dual CAP MX | Variant | CAP MX Mounting Bracket Dual to mount 2 CAP MX to a wall |  | ERA® |  | Mounting kit
OC-BA50A | Adjustable Box Support RP6100i/UAP2 | Variant | RP6100i/UAP2 mounting kit to mount an RP6100i or a UAP2 to ceiling T-bars |  | ERA® | UAP2 | Mounting kit
7814094 |  | Variant | HARD CEILING MOUNTING KIT |  |  |  | Mounting kit
7543994 |  | Variant | Clamp for Cell-Max™ Omnidirectional In-building Antennas |  |  |  | Clamp set
7637443-02 |  | Variant | ION® Series Power Supply Unit, -40 to -70 Vdc, 850 W |  | ION® |  | Power supply
7641606-01 |  | Variant | ION® Filler for Power Supply Unit Subrack |  | ION® |  | Power supply subrack
7643288-01 | SR 8/POI w/o guiderails | Variant | ION® Active Intelligent Point of Interface Subrack for ION-U Applications |  | ION® |  | Point of interface subrack
7650855 |  | Variant | ION® Power Distribution Unit Upgrade Kit |  | ION® |  | Power supply
7683181-01 | Wall Mounting kit UAP | Variant | Universal Access Point Wall Mount Assembly |  | ERA® |  | Mounting kit
7688866-00 | Blank Panel UNIV | Variant | ERA® Blank Module, Universal Slot |  | ERA® |  | Blank module
7672755-00 |  | Variant | ION® POI Blindcover for Intelligent Point of Interface |  | ION® |  | Cover
7688868-00 | Blank Panel SUI | Variant | ERA® Blank Module, System User Interface (SUI) Slot |  | ERA® |  | Blank module
7683191-00 |  | Variant | ION® Power Supply Distribution Unit |  | ION® |  | Power distribution unit
7708038 |  | Variant | ION® Mains Block Kit, Vdc |  | ION® |  | Block kit
7715012-01 | i-POI 8 x 1:2 | Variant | ION® Passive Intelligent Point of Interface 8 x 1:2 Combining Module |  | i-POI™ |  | Combiner
7708019 |  | Variant | ION® Mains Block Kit, Vac for PSDU |  | ION® |  | Block kit
7715018-01 | i-POI 4 x 1:4 | Variant | ION® Passive Intelligent Point of Interface 4 x 1:4 Combining Module |  | i-POI™ |  | Combiner
7714184-01 | Quick Release Ceiling Mounting kit UAP | Variant | UAP Universal Access Point Quick Release Ceiling Mount Assembly (1/2" and 3/4") |  | ERA® |  | Mounting kit
7760591 |  | Variant | CMAX-O-CPUSEWV53 Ceiling Mounting Kit |  |  |  | Mounting kit
7779139-00 |  | Variant | Diplexer for ERA® 614-896 & 1695-2200 MHz Outdoor Applications |  | ERA® |  | Diplexer
7837870 |  | Variant | Pole Mounting kit for Stadium Antennas |  |  |  | Accessory
TFAH-ES70/80-17 |  | Variant | ION®-B Series High Power Remote Unit for LMR 700 and LMR 800 Band High Power Applications |  | ION®-B |  | Remote unit
TFAH-ES70/80/50-17 |  | Variant | ION®-B Series High Power Remote Unit for LMR 700, LMR 800 and UHF Band High Power Applications |  | ION®-B |  | Remote unit
TLCN8-W |  | Variant | ION®-B Series Wideband Eight-way Splitter/Combiner |  | ION®-B |  | Splitter/combiner
7693816-00 | Hybrid Fiber Splicing Box | Variant | Hybrid Fiber Splicing Box |  | ERA® |  | Mounting kit